## Electrical Works
description | unit | rate
PVC Conduit Wiring (1 Light Point) | point | 120
PVC Conduit Wiring (Fan Point) | point | 150
PVC Conduit Wiring (Plug Point) | point | 140
Main Circuit Wiring (6 mm²) | m | 95
Submain Wiring (10 mm²) | m | 120
Distribution Board (TPN 12-way) | each | 5500
MCB Single Pole 6A to 32A | each | 250
MCB Double Pole 63A | each | 700
RCCB 63A, 30mA | each | 1500
Main Changeover Switch (100A) | each | 3500
Earth Pit Complete | each | 2800
Earthing Strip 25x3 mm GI | m | 85
Copper Earth Wire 8 SWG | m | 50
LED Tube Light 18W Installation | each | 350
LED Ceiling Panel Light (15W) | each | 400
Ceiling Fan Installation | each | 300
Exhaust Fan Installation | each | 250
Wall Bracket Fan Installation | each | 220
Light Switch (Modular) | each | 60
Fan Regulator (Modular) | each | 110
5A Socket Outlet | each | 75
15A Power Outlet with Box | each | 180
AC Power Point with Wiring | point | 600
Geyser Point | point | 450
TV Socket Point | point | 200
Telephone Socket Point | point | 180
Network Point Cat-6 | point | 220
PVC Conduit 25mm with accessories | m | 40
PVC Conduit 32mm | m | 60
Flexible Wire 1.5 mm² | m | 25
Flexible Wire 2.5 mm² | m | 35
2-way Switch Setup | each | 250
Bell Push Switch with Indicator | each | 150
Distribution Box with Fittings | each | 1600
MCCB Panel Board | each | 12500
Street Light Pole Installation | each | 4500
High Mast Lighting System | each | 30000
Lightning Arrestor | each | 3500
Electrical Testing & Commissioning | job | 2000
Conduit Bending & Fittings | m | 20
Industrial Power Plug (32A) | each | 600
DB Installation Charges | each | 500
Load Testing | job | 1800
Wiring for CCTV System | m | 45
Installation of CCTV Camera | each | 500
Fire Alarm System Wiring | m | 60
PA System Wiring | m | 40
Solar Panel Installation per kW | kW | 18000
Battery Backup System (Inverter Setup) | each | 10000
Cable Tray (Per Meter) | m | 90

## Civil Works
description | unit | rate
Brick Masonry | m³ | 850
Cement Plastering | m² | 120
Concrete (1:2:4) | m³ | 1050
Excavation in Foundation | m³ | 200
RCC Slab (1:2:4) | m³ | 1100
PCC (1:4:8) | m³ | 950
Formwork for Slab | m² | 220
Steel Reinforcement Fixing | kg | 150
DPC with Cement Concrete | m² | 180
Earth Filling with Compaction | m³ | 170
Backfilling in Trenches | m³ | 150
Rubble Stone Masonry | m³ | 650
Plinth Beam | m³ | 1200
Shuttering for Columns | m² | 250
RCC Column | m³ | 1300
RCC Beam | m³ | 1250
Curing of Concrete Work | m² | 25
Flooring with Tiles | m² | 900
Skirting with Tiles | m | 200
Painting with Plastic Emulsion | m² | 90
Distempering | m² | 50
Ceiling Plaster | m² | 110
PVC Conduit Wiring | m | 65
Switch Board Installation | each | 300
Main Electrical Wiring | m | 80
Water Supply GI Pipe 25mm | m | 110
Sanitary Work (WC Installation) | each | 1500
Wash Basin Installation | each | 900
Marble Counter Installation | m² | 1400
Aluminum Window Frame | m² | 1200
Steel Door Fabrication | m² | 1500
Plaster Groove Cutting | m | 35
Anchor Bolt Fixing | each | 75
Anti-termite Treatment | m² | 55
Water Proofing for Roof | m² | 95
Boundary Wall Construction | m³ | 950
Barbed Wire Fencing | m | 120
RCC Septic Tank | m³ | 1400
Underground Water Tank | m³ | 1350
Soak Pit Construction | m³ | 1000
Manhole Chamber | each | 2500
Gully Trap Installation | each | 750
Rainwater Harvesting Pit | m³ | 1600
Masonry Wall 9" Thick | m² | 600
Masonry Wall 4.5" Thick | m² | 400
Glass Panel Fixing | m² | 950
Handrail Installation | m | 300
Staircase Construction | m³ | 1500
Grading Work for Plot | m² | 70
Stone Soling | m² | 85

## Plumbing Works
description | unit | rate
GI Pipe Laying 25mm dia | m | 120
GI Pipe Laying 50mm dia | m | 180
CPVC Pipe Laying 20mm dia | m | 90
CPVC Pipe Laying 32mm dia | m | 110
UPVC Pipe Laying 4 inch | m | 140
UPVC Pipe Laying 6 inch | m | 200
PVC Drainage Pipe 100mm dia | m | 170
Overhead Water Tank Connection | job | 2500
Underground Water Supply Network | m | 300
Toilet Seat Installation (Western) | each | 1800
Toilet Seat Installation (Indian) | each | 1500
Wash Basin with Fittings | each | 1000
Kitchen Sink with Plumbing | each | 1200
Bathroom Shower Installation | each | 750
Geyser Connection | each | 450
Water Tap Installation | each | 120
Bib Cock Installation | each | 100
Stop Cock Installation | each | 110
Angle Valve Installation | each | 90
Bathroom Fittings Complete | set | 2500
Floor Trap Installation | each | 150
Inspection Chamber (Brick Masonry) | each | 2000
Water Meter Setup | each | 850
Hot and Cold Mixing Valve | each | 500
Water Tank Cleaning | job | 1000
Pressure Pump Installation | each | 3000
Sewer Line Excavation & Laying | m | 250
Air Release Valve Setup | each | 700
Rain Water Drain Pipe Fixing | m | 100
Testing & Flushing of Water Line | job | 500